## Sheet1
Name | Datatype | Ending | 0_PlantOverall | 1_Function | 1_Function_Nr | 2_Aggregate | 2_Aggregate_Nr | 3_OperatingRessources | Ending | Entity | Entity (alt. lang.) | Meaning | OpenAPI_3.0_Type | X-NGSI-LD
0GCN10AP010/WAB_DosPu_NH4OH.SPOP_HL | 32-Bit IEEE 754 | .SPOP_HL | 0 | GCN | 10 | AP | 010 |  | .SPOP_HL | Chemical supply, dosing | Chemikalienversorgung, Dosierung | Chemical supply, dosing Nr. 10 Aggregate Pump Nr. 010 (Upper set point operating limit) | number | https://schema.org/Number
0GCN10AP010/WAB_DosPu_NH4OH.FB_SPEED | 32-Bit IEEE 754 | .FB_SPEED | 0 | GCN | 10 | AP | 010 |  | .FB_SPEED | Chemical supply, dosing | Chemikalienversorgung, Dosierung | Chemical supply, dosing Nr. 10 Aggregate Pump Nr. 010 (Speed of the actuator) | number | https://schema.org/Number
0GCN10AP010/WAB_DosPu_NH4OH.SP_AUT | 32-Bit IEEE 754 | .SP_AUT | 0 | GCN | 10 | AP | 010 |  | .SP_AUT | Chemical supply, dosing | Chemikalienversorgung, Dosierung | Chemical supply, dosing Nr. 10 Aggregate Pump Nr. 010 (Automatic setpoint) | number | https://schema.org/Number
0GCN10AP010/WAB_DosPu_NH4OH.SP_GRAD | 32-Bit IEEE 754 | .SP_GRAD | 0 | GCN | 10 | AP | 010 |  | .SP_GRAD | Chemical supply, dosing | Chemikalienversorgung, Dosierung | Chemical supply, dosing Nr. 10 Aggregate Pump Nr. 010 (Maximum permissible setpoint change per time base RSP_TIME) | number | https://schema.org/Number
0GCN10AP010/WAB_DosPu_NH4OH.SP_OP | 32-Bit IEEE 754 | .SP_OP | 0 | GCN | 10 | AP | 010 |  | .SP_OP | Chemical supply, dosing | Chemikalienversorgung, Dosierung | Chemical supply, dosing Nr. 10 Aggregate Pump Nr. 010 (Operator input: Setpoint) | number | https://schema.org/Number
0GCN10AP010/WAB_DosPu_NH4OH.SP_RAMP | Bitwert | .SP_RAMP | 0 | GCN | 10 | AP | 010 |  | .SP_RAMP | Chemical supply, dosing | Chemikalienversorgung, Dosierung | Chemical supply, dosing Nr. 10 Aggregate Pump Nr. 010 (Switching on the setpoint ramp) | boolean | https://schema.org/Boolean
0GCN10AP010/WAB_DosPu_NH4OH.SPOP_LL | 32-Bit IEEE 754 | .SPOP_LL | 0 | GCN | 10 | AP | 010 |  | .SPOP_LL | Chemical supply, dosing | Chemikalienversorgung, Dosierung | Chemical supply, dosing Nr. 10 Aggregate Pump Nr. 010 (Lower set point operating limit) | number | https://schema.org/Number
0GHC20AA001/NivRV_SpWB.FB_MV | 32-Bit IEEE 754 | .FB_MV | 0 | GHC | 20 | AA | 001 |  | .FB_MV | Deionized water | VE-Wasser | Deionized water Nr. 20 Aggregate Fitting Nr. 001 (Position feedback of a control valve) | number | https://schema.org/Number
0HLA11DT021/T_RegAustrAbs_MW.IN13 | 32-Bit IEEE 754 | .IN13 | 0 | HLA | 11 | DT | 021 |  | .IN13 | Duct system | Kanalsystem | Duct system Nr. 11 Control loop Temperature Nr. 021 (.IN13) | number | https://schema.org/Number
0HLA11DT021/T_RegAustrAbs_MW.IN12 | 32-Bit IEEE 754 | .IN12 | 0 | HLA | 11 | DT | 021 |  | .IN12 | Duct system | Kanalsystem | Duct system Nr. 11 Control loop Temperature Nr. 021 (.IN12) | number | https://schema.org/Number
0HLA11DT021/T_RegAustrAbs_MW.IN16 | 32-Bit IEEE 754 | .IN16 | 0 | HLA | 11 | DT | 021 |  | .IN16 | Duct system | Kanalsystem | Duct system Nr. 11 Control loop Temperature Nr. 021 (.IN16) | number | https://schema.org/Number
0HLA11DT021/T_RegAustrAbs_MW.IN15 | 32-Bit IEEE 754 | .IN15 | 0 | HLA | 11 | DT | 021 |  | .IN15 | Duct system | Kanalsystem | Duct system Nr. 11 Control loop Temperature Nr. 021 (.IN15) | number | https://schema.org/Number
0HLA11DT021/T_RegAustrAbs_MW.IN14 | 32-Bit IEEE 754 | .IN14 | 0 | HLA | 11 | DT | 021 |  | .IN14 | Duct system | Kanalsystem | Duct system Nr. 11 Control loop Temperature Nr. 021 (.IN14) | number | https://schema.org/Number
0WTX99CT910/MWtTempObFlaRec.U_WL | 32-Bit IEEE 1135 | .U_WL | 0 | WTX | 99 | CT | 910 |  | .U_WL | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 (LL warning) | number | https://schema.org/Number
0WTX99CT910A/MAXWtTempRec.U | 32-Bit IEEE 754 | .U | 0 | WTX | 99 | CT | 910 | A | .U | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 A (Analog value measurement) | number | https://schema.org/Number
0WTX99CT910/MWtTempObFlaRec.U_WH | 32-Bit IEEE 1134 | .U_WH | 0 | WTX | 99 | CT | 910 |  | .U_WH | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 (HL warning) | number | https://schema.org/Number
0WTX99CT910/MWtTempObFlaRec.U_AL | 32-Bit IEEE 1136 | .U_AL | 0 | WTX | 99 | CT | 910 |  | .U_AL | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 (LL alarm) | number | https://schema.org/Number
0WTX99CT910/MWtTempObFlaRec.U_AH | 32-Bit IEEE 1133 | .U_AH | 0 | WTX | 99 | CT | 910 |  | .U_AH | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 (HL alarm) | number | https://schema.org/Number
0WTX50CT001B/TempHoriTrennRec.U | 32-Bit IEEE 754 | .U | 0 | WTX | 50 | CT | 001 | B | .U | Receiver | Receiver | Receiver Nr. 50 Measuring circuit Temperature Nr. 001 B (Analog value measurement) | number | https://schema.org/Number
0WTX99CT910A/SP_T_Rec_Grad_D1.U | 32-Bit IEEE 754 | .U | 0 | WTX | 99 | CT | 910 | A | .U | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 A (Analog value measurement) | number | https://schema.org/Number
0WTX99CT910/MWtTempObFlaRec.U | 32-Bit IEEE 754 | .U | 0 | WTX | 99 | CT | 910 |  | .U | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 (Analog value measurement) | number | https://schema.org/Number
0WTX99CT910A/SP_T_Rec_Grad_D2.U | 32-Bit IEEE 754 | .U | 0 | WTX | 99 | CT | 910 | A | .U | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 A (Analog value measurement) | number | https://schema.org/Number
0WTX99CT910A/SP_T_Rec_Grad_WH.U | 32-Bit IEEE 754 | .U | 0 | WTX | 99 | CT | 910 | A | .U | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 A (Analog value measurement) | number | https://schema.org/Number
0WTX99CT940B/MAXTDiff_TrgRah.U | 32-Bit IEEE 754 | .U | 0 | WTX | 99 | CT | 940 | B | .U | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 940 B (Analog value measurement) | number | https://schema.org/Number
0WTX99CT940C/MAXTDiff_KuLuAus.U | 32-Bit IEEE 754 | .U | 0 | WTX | 99 | CT | 940 | C | .U | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 940 C (Analog value measurement) | number | https://schema.org/Number
0WTX99CT910A/MWtTempRec.U | 32-Bit IEEE 754 | .U | 0 | WTX | 99 | CT | 910 | A | .U | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 A (Analog value measurement) | number | https://schema.org/Number
0WTX99CT910/MAXWtTempObFlaRe.U_WL | 32-Bit IEEE 1131 | .U_WL | 0 | WTX | 99 | CT | 910 |  | .U_WL | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 (LL warning) | number | https://schema.org/Number
0WTX99CT950C/MAXTDiff_KuLu_WL.U | 32-Bit IEEE 754 | .U | 0 | WTX | 99 | CT | 950 | C | .U | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 950 C (Analog value measurement) | number | https://schema.org/Number
0WTX99CT910/MAXWtTempObFlaRe.U_AL | 32-Bit IEEE 1132 | .U_AL | 0 | WTX | 99 | CT | 910 |  | .U_AL | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 (LL alarm) | number | https://schema.org/Number
0WTX99CT910/MAXWtTempObFlaRe.U_AH | 32-Bit IEEE 1129 | .U_AH | 0 | WTX | 99 | CT | 910 |  | .U_AH | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 (HL alarm) | number | https://schema.org/Number
0WTX99CT910/MAXWtTempObFlaRe.U | 32-Bit IEEE 754 | .U | 0 | WTX | 99 | CT | 910 |  | .U | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 (Analog value measurement) | number | https://schema.org/Number
0WTX50CT901B/MAXTempTrennRec.U | 32-Bit IEEE 754 | .U | 0 | WTX | 50 | CT | 901 | B | .U | Receiver | Receiver | Receiver Nr. 50 Measuring circuit Temperature Nr. 901 B (Analog value measurement) | number | https://schema.org/Number
0WTX50CT002B/TempVertTrennRec.U | 32-Bit IEEE 754 | .U | 0 | WTX | 50 | CT | 002 | B | .U | Receiver | Receiver | Receiver Nr. 50 Measuring circuit Temperature Nr. 002 B (Analog value measurement) | number | https://schema.org/Number
0WTX99CT950B/MAXTDiff_Rah_Mem.U | 32-Bit IEEE 754 | .U | 0 | WTX | 99 | CT | 950 | B | .U | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 950 B (Analog value measurement) | number | https://schema.org/Number
0WTX30CT901C/MAXT_KuKanSeWdLu.U | 32-Bit IEEE 754 | .U | 0 | WTX | 30 | CT | 901 | C | .U | Receiver | Receiver | Receiver Nr. 30 Measuring circuit Temperature Nr. 901 C (Analog value measurement) | number | https://schema.org/Number
0WTX99CT910/MAXWtTempObFlaRe.U_WH | 32-Bit IEEE 1130 | .U_WH | 0 | WTX | 99 | CT | 910 |  | .U_WH | Receiver | Receiver | Receiver Nr. 99 Measuring circuit Temperature Nr. 910 (HL warning) | number | https://schema.org/Number
0BLE10CS002/Drehzahl_DT.U_WL | 32-Bit IEEE 932 | .U_WL | 0 | BLE | 10 | CS | 002 |  | .U_WL | Steam turbine plant | Dampfturbinenanlage | Steam turbine plant Nr. 10 Measuring circuit velocity, speed, frequency Nr. 002 (LL warning) | number | https://schema.org/Number
0BLE10CS002/Drehzahl_DT.U_WH | 32-Bit IEEE 931 | .U_WH | 0 | BLE | 10 | CS | 002 |  | .U_WH | Steam turbine plant | Dampfturbinenanlage | Steam turbine plant Nr. 10 Measuring circuit velocity, speed, frequency Nr. 002 (HL warning) | number | https://schema.org/Number
0BLE10CS002/Drehzahl_DT.U_AH | 32-Bit IEEE 930 | .U_AH | 0 | BLE | 10 | CS | 002 |  | .U_AH | Steam turbine plant | Dampfturbinenanlage | Steam turbine plant Nr. 10 Measuring circuit velocity, speed, frequency Nr. 002 (HL alarm) | number | https://schema.org/Number
0BLE10CS002/Drehzahl_DT.U | 32-Bit IEEE 754 | .U | 0 | BLE | 10 | CS | 002 |  | .U | Steam turbine plant | Dampfturbinenanlage | Steam turbine plant Nr. 10 Measuring circuit velocity, speed, frequency Nr. 002 (Analog value measurement) | number | https://schema.org/Number
0HAH20CT002/T_DamAusUebHitz2.PV_IN | 32-Bit IEEE 754 | .PV_IN | 0 | HAH | 20 | CT | 002 |  | .PV_IN | Superheater | Überhitzer | Superheater Nr. 20 Measuring circuit Temperature Nr. 002 (Analog value controller) | number | https://schema.org/Number
0HAH20CT002/T_DamAusUebHitz2.LMN | 32-Bit IEEE 754 | .LMN | 0 | HAH | 20 | CT | 002 |  | .LMN | Superheater | Überhitzer | Superheater Nr. 20 Measuring circuit Temperature Nr. 002 (Control value controller) | number | https://schema.org/Number
0GKA10CF501/DurFl_RoWa_.ZAEHLWERT | 32-Bit IEEE 754 | .ZAEHLWERT | 0 | GKA | 10 | CF | 501 |  | .ZAEHLWERT | Transfer meter | Übernahme Zähler | Transfer meter Nr. 10 Measuring circuit flow, flow rate Nr. 501 (Counter) | number | https://schema.org/Number