## functions
abbreviation | function_de | function_en
BLE | Dampfturbinenanlage | Steam turbine plant
EKA | Übernahmeeinrichtung einschl. Fernleitung | Transfer device incl. capillary
GCB | Filterung, mechanische Reinigung | filtration, mechanical cleaning
GCF | Ionentauscher, Umkehrosmose | Ion exchanger, reverse osmosis
GCN | Chemikalienversorgung, Dosierung | Chemical supply, dosing
GHC | VE-Wasser | Deionized water
GKA | Übernahme Zähler | Transfer meter
GKB | Trinkwasser allgemein | Drinking water in general
GMA | Betriebsabwasser Kessel | Process wastewater, boiler
GME | Betriebsabwasser, Sonstige | Process waste water, other
HAA | Kondensatvorwärmer | Condensate preheater
HAC | Speisewasservorwärmer | Feed water preheater
HAD | Verdampfer | Evaporator
HAH | Überhitzer | Superheater
HBK | Dampferzeuger-Innenraum | Steam generator interior
HHA | Kanalbrenner | Duct burner
HLA | Kanalsystem | Duct system
HNA | Kanalsystem Heißluft | Hot air duct system
HNB | Kanalsystem Warmluft | Duct system hot air
HNC | Saugzuggebläseanlage | Induced draft blower system
HUA | Speicher | Storage tank
LAA | Speisewasserbehälter/Entgaser | Feedwater tank/degasser
LAB | Speisewasserrohrleitungen | Feedwater piping
LBA | HD Dampfsystem | HP steam system
LBF | HD-Reduzierstation, Umleitstation | HP reduction station, bypass station
LBN | Abdampfsystem | Degasser steam system
LBQ | Entgaser-Dampfsystem | Deaerator steam system
LCA | Hauptkondensatsystem | Main condensate system
LCE | Einspritzkondensat ULS/HDR | Injection condensate ULS/HDR
LCM | Entleerungs-, Entwässerungs-SammelSystem | Drainage, drainage collection system
| Entspanner LCM10 und 50 | Flash tanks LCM10 and 50
| HD-Kondensate LCM20-49 | HD condensates LCM20-49
| ND-Kondensate LCM60-99 | LP condensates LCM60-99
MAA | Dampfturbine HD | Steam turbine HD
MAC | Dampfturbine ND | Steam turbine ND
MAD | Turbinenlagerung | Turbine bearing
MAG | Kondensationsanlage | Condensing unit
MAK | Getriebe, Kupplung | Gearbox, coupling
MAL | Entwässerungs- u. Entlüftungssystem | Drainage and venting system
MAN | Abdampfleitung Turbine | exhaust steam line turbine
MAV | Ölanlage | Oil system
MKA | Generatoranlage | Generator plant
PAA | Hauptkühlwasser Vorlauf | Main cooling water flow
PAB | Hauptkühlwasser Rücklauf | Main cooling water return
PAC | Hauptkühlwasser-Pumpenanlage | Main cooling water pumping plant
PAD | Rückkühlanlage | Recooling system
PAK | Druckhaltung, Nachspeisung | Pressure maintenance, make-up
PCA | Nebenkühlwasser Vorlauf | Secondary cooling water flow
PCB | Nebenkühlwasser Rücklauf | Secondary cooling water return
QFB | Druckluftverteilung | Compressed air distribution
ULX | Bauwerk | Building
WTA | Subreceiver A | Subreceiver A
WTB | Subreceiver B | Subreceiver B
WTC | Subreceiver C | Subreceiver C
WTD | Subreceiver D | Subreceiver D
WTV | Strahlungsmesssystem | Radiation measurement system
WTX | Receiver | Receiver

## aggregates
aggregate | group_de | description_de | group_en | description_en
T | Sonstiges | Temperatur | Other | Other
AA | Aggregat | Armatur | Aggregate | Fitting
AC | Aggregat | Wärmeüberträger, Heizfläche | Aggregate | Heat exchanger, heating surface
AN | Aggregat | Verdichter und Gebläseaggregat, E-Motor | Aggregate | Compressor and blower unit, electric motor
AP | Aggregat | Pumpe | Aggregate | Pump
CF | Messkreis | Durchfluss, Durchsatz | Measuring circuit | flow, flow rate
CL | Messkreis | Stand, Niveau | Measuring circuit | level, level
CP | Messkreis | Druck | Measuring circuit | Pressure
CQ | Messkreis | Qualität (Analysen, Stoffeigenschaften) | Measuring circuit | Quality (analyses, material properties)
CR | Messkreis | Strahlungsgröße | Measuring circuit | Radiation size
CS | Messkreis | Geschwindigkeit, Drehzahl, Frequenz | Measuring circuit | velocity, speed, frequency
CT | Messkreis | Temperatur | Measuring circuit | Temperature
CY | Messkreis | Schwingung, Dehnung | Measuring circuit | Vibration, strain
DF | Regelkreis | Durchfluss, Durchsatz | Control loop | Flow, throughput
DL | Regelkreis | Stand, Niveau | Control loop | level, level
DP | Regelkreis | Druck | Control loop | Pressure
DT | Regelkreis | Temperatur | Control loop | Temperature
XX | Sonstiges | Sonstiges | Other | Other

## endings
abbreviation | meaning_de | meaning_en | comment
.U | Analogwert Messung | Analog value measurement
.PV_IN | Analogwert Regler | Analog value controller
.SP | Aktiver Sollwert | Active Setpoint
.LMN | Stellwert Regler | Control value controller
.FB_SPEED | Drehzahl des Antriebs | Speed of the actuator
.FB_MV | Stellungsrückmeldung eines Regelventils | Position feedback of a control valve
.ZAEHLWERT | Zähler | Counter
.QLMN_HLM | 1 = Begrenzung des oberen Bereichs der Stellgrößenausgabe | 1 = limit high range of manipulated variable output
.QLMN_LLM | 1 = Begrenzung des unteren Bereichs der Stellgrößenausgabe | 1 = limit low range of manipulated variable output
.QMAN_AUT | 0 = Manual, 1 = Auto | 0 = Manual, 1 = Auto
.U_AH | HL Alarm | HL alarm
.U_AL | LL Alarm | LL alarm
.U_WH | HL Warnung | HL warning
.U_WL | LL Warnung | LL warning
.LMNR_IN | Positionsrückmeldung für die Anzeige auf dem OS | Position feedback for display on OS
.LMN_SEL | 1 = externe Stellgröße aktiviert | 1 = external manipulated variable enabled
.LMN_OFF | Betriebspunkt | Operating point
.U_HL | Oberer Grenzwert U | High limit U
.U_LL | Unterer Grenzwert U | Low limit U
.SP_EXT | Externer Sollwert | External setpoint
.SP_AUT | Automatiksollwert | Automatic setpoint
.SP_GRAD | Maximal zulässige Sollwertänderung pro Zeitbasis RSP_TIME | Maximum permissible setpoint change per time base RSP_TIME
.SP_HLM | Sollwert Obergrenze | Setpoint high limit
.SP_LLM | Sollwert Untergrenze | Setpoint low limit
.SP_OP | Eingabe durch den Betreiber: Sollwert | Operator input: Setpoint
.SP_OP_ON | Aktivieren: 1 = Betreiber darf SP_OP eingeben | Enable: 1 = Operator may input SP_OP
.SP_RAMP | Einschalten der Sollwertrampe | Switching on the setpoint ramp
.SP_TRK_ON | 1 = Sollwert verfolgen SP_OP | 1 = track setpoint SP_OP
.SPBUMPON | 1 = stoßfreier Sollwert EIN | 1 = bumpless setpoint ON
.SPDRLM | Max. negative Steigung des Sollwerts [1/s] | Max. negative slope of the setpoint [1/s]
.SPEXTSEL_OP | Bedienereingang: 0 = intern; 1 = extern | Operator input: 0 = internal; 1 = external
.SPOP_HL | Obere Sollwert Bediengrenze | Upper set point operating limit
.SPOP_LL | Untere Sollwertbediengrenze | Lower set point operating limit
.SPRAMPOF | 1 = Sollwertrampenbegrenzung = AUS | 1 = setpoint ramp limiting = OFF
.SPURLM | Max. positive Rate des Sollwerts [1/s] | Max. positive setpoint ramp rate[1/s]

## datatypes
OPC_Name | OpenAPI_3.0_Type | X-NGSI-LD
Bitwert | boolean | https://schema.org/Boolean
32-Bit IEEE 754 | number | https://schema.org/Number
32-Bit IEEE 755 | number | https://schema.org/Number
32-Bit IEEE 756 | number | https://schema.org/Number
32-Bit IEEE 757 | number | https://schema.org/Number
32-Bit IEEE 758 | number | https://schema.org/Number
32-Bit IEEE 759 | number | https://schema.org/Number
32-Bit IEEE 760 | number | https://schema.org/Number
32-Bit IEEE 761 | number | https://schema.org/Number
32-Bit IEEE 762 | number | https://schema.org/Number
32-Bit IEEE 763 | number | https://schema.org/Number
32-Bit IEEE 764 | number | https://schema.org/Number
32-Bit IEEE 765 | number | https://schema.org/Number
32-Bit IEEE 766 | number | https://schema.org/Number
32-Bit IEEE 767 | number | https://schema.org/Number
32-Bit IEEE 768 | number | https://schema.org/Number
32-Bit IEEE 769 | number | https://schema.org/Number
32-Bit IEEE 770 | number | https://schema.org/Number
32-Bit IEEE 771 | number | https://schema.org/Number
32-Bit IEEE 772 | number | https://schema.org/Number
32-Bit IEEE 773 | number | https://schema.org/Number
32-Bit IEEE 774 | number | https://schema.org/Number
32-Bit IEEE 775 | number | https://schema.org/Number
32-Bit IEEE 776 | number | https://schema.org/Number
32-Bit IEEE 777 | number | https://schema.org/Number
32-Bit IEEE 778 | number | https://schema.org/Number
32-Bit IEEE 779 | number | https://schema.org/Number
32-Bit IEEE 780 | number | https://schema.org/Number
32-Bit IEEE 781 | number | https://schema.org/Number
32-Bit IEEE 782 | number | https://schema.org/Number
32-Bit IEEE 783 | number | https://schema.org/Number
32-Bit IEEE 784 | number | https://schema.org/Number
32-Bit IEEE 785 | number | https://schema.org/Number
32-Bit IEEE 786 | number | https://schema.org/Number
32-Bit IEEE 787 | number | https://schema.org/Number
32-Bit IEEE 788 | number | https://schema.org/Number
32-Bit IEEE 789 | number | https://schema.org/Number
32-Bit IEEE 790 | number | https://schema.org/Number
32-Bit IEEE 791 | number | https://schema.org/Number
32-Bit IEEE 792 | number | https://schema.org/Number
32-Bit IEEE 793 | number | https://schema.org/Number
32-Bit IEEE 794 | number | https://schema.org/Number
32-Bit IEEE 795 | number | https://schema.org/Number
32-Bit IEEE 796 | number | https://schema.org/Number
32-Bit IEEE 797 | number | https://schema.org/Number
32-Bit IEEE 798 | number | https://schema.org/Number
32-Bit IEEE 799 | number | https://schema.org/Number
32-Bit IEEE 800 | number | https://schema.org/Number
32-Bit IEEE 801 | number | https://schema.org/Number
32-Bit IEEE 802 | number | https://schema.org/Number
32-Bit IEEE 803 | number | https://schema.org/Number
32-Bit IEEE 804 | number | https://schema.org/Number
32-Bit IEEE 805 | number | https://schema.org/Number
32-Bit IEEE 806 | number | https://schema.org/Number
32-Bit IEEE 807 | number | https://schema.org/Number
32-Bit IEEE 808 | number | https://schema.org/Number
32-Bit IEEE 809 | number | https://schema.org/Number
32-Bit IEEE 810 | number | https://schema.org/Number
32-Bit IEEE 811 | number | https://schema.org/Number
32-Bit IEEE 812 | number | https://schema.org/Number
32-Bit IEEE 813 | number | https://schema.org/Number
32-Bit IEEE 814 | number | https://schema.org/Number
32-Bit IEEE 815 | number | https://schema.org/Number
32-Bit IEEE 816 | number | https://schema.org/Number
32-Bit IEEE 817 | number | https://schema.org/Number
32-Bit IEEE 818 | number | https://schema.org/Number
32-Bit IEEE 819 | number | https://schema.org/Number
32-Bit IEEE 820 | number | https://schema.org/Number
32-Bit IEEE 821 | number | https://schema.org/Number
32-Bit IEEE 822 | number | https://schema.org/Number
32-Bit IEEE 823 | number | https://schema.org/Number
32-Bit IEEE 824 | number | https://schema.org/Number
32-Bit IEEE 825 | number | https://schema.org/Number
32-Bit IEEE 826 | number | https://schema.org/Number
32-Bit IEEE 827 | number | https://schema.org/Number
32-Bit IEEE 828 | number | https://schema.org/Number
32-Bit IEEE 829 | number | https://schema.org/Number
32-Bit IEEE 830 | number | https://schema.org/Number
32-Bit IEEE 831 | number | https://schema.org/Number
32-Bit IEEE 832 | number | https://schema.org/Number
32-Bit IEEE 833 | number | https://schema.org/Number
32-Bit IEEE 834 | number | https://schema.org/Number
32-Bit IEEE 835 | number | https://schema.org/Number
32-Bit IEEE 836 | number | https://schema.org/Number
32-Bit IEEE 837 | number | https://schema.org/Number
32-Bit IEEE 838 | number | https://schema.org/Number
32-Bit IEEE 839 | number | https://schema.org/Number
32-Bit IEEE 840 | number | https://schema.org/Number
32-Bit IEEE 841 | number | https://schema.org/Number
32-Bit IEEE 842 | number | https://schema.org/Number
32-Bit IEEE 843 | number | https://schema.org/Number
32-Bit IEEE 844 | number | https://schema.org/Number
32-Bit IEEE 845 | number | https://schema.org/Number
32-Bit IEEE 846 | number | https://schema.org/Number
32-Bit IEEE 847 | number | https://schema.org/Number
32-Bit IEEE 848 | number | https://schema.org/Number
32-Bit IEEE 849 | number | https://schema.org/Number
32-Bit IEEE 850 | number | https://schema.org/Number
32-Bit IEEE 851 | number | https://schema.org/Number
32-Bit IEEE 852 | number | https://schema.org/Number
32-Bit IEEE 853 | number | https://schema.org/Number
32-Bit IEEE 854 | number | https://schema.org/Number
32-Bit IEEE 855 | number | https://schema.org/Number
32-Bit IEEE 856 | number | https://schema.org/Number
32-Bit IEEE 857 | number | https://schema.org/Number
32-Bit IEEE 858 | number | https://schema.org/Number
32-Bit IEEE 859 | number | https://schema.org/Number
32-Bit IEEE 860 | number | https://schema.org/Number
32-Bit IEEE 861 | number | https://schema.org/Number
32-Bit IEEE 862 | number | https://schema.org/Number
32-Bit IEEE 863 | number | https://schema.org/Number
32-Bit IEEE 864 | number | https://schema.org/Number
32-Bit IEEE 865 | number | https://schema.org/Number
32-Bit IEEE 866 | number | https://schema.org/Number
32-Bit IEEE 867 | number | https://schema.org/Number
32-Bit IEEE 868 | number | https://schema.org/Number
32-Bit IEEE 869 | number | https://schema.org/Number
32-Bit IEEE 870 | number | https://schema.org/Number
32-Bit IEEE 871 | number | https://schema.org/Number
32-Bit IEEE 872 | number | https://schema.org/Number
32-Bit IEEE 873 | number | https://schema.org/Number
32-Bit IEEE 874 | number | https://schema.org/Number
32-Bit IEEE 875 | number | https://schema.org/Number
32-Bit IEEE 876 | number | https://schema.org/Number
32-Bit IEEE 877 | number | https://schema.org/Number
32-Bit IEEE 878 | number | https://schema.org/Number
32-Bit IEEE 879 | number | https://schema.org/Number
32-Bit IEEE 880 | number | https://schema.org/Number
32-Bit IEEE 881 | number | https://schema.org/Number
32-Bit IEEE 882 | number | https://schema.org/Number
32-Bit IEEE 883 | number | https://schema.org/Number
32-Bit IEEE 884 | number | https://schema.org/Number
32-Bit IEEE 885 | number | https://schema.org/Number
32-Bit IEEE 886 | number | https://schema.org/Number
32-Bit IEEE 887 | number | https://schema.org/Number
32-Bit IEEE 888 | number | https://schema.org/Number
32-Bit IEEE 889 | number | https://schema.org/Number
32-Bit IEEE 890 | number | https://schema.org/Number
32-Bit IEEE 891 | number | https://schema.org/Number
32-Bit IEEE 892 | number | https://schema.org/Number
32-Bit IEEE 893 | number | https://schema.org/Number
32-Bit IEEE 894 | number | https://schema.org/Number
32-Bit IEEE 895 | number | https://schema.org/Number
32-Bit IEEE 896 | number | https://schema.org/Number
32-Bit IEEE 897 | number | https://schema.org/Number
32-Bit IEEE 898 | number | https://schema.org/Number
32-Bit IEEE 899 | number | https://schema.org/Number
32-Bit IEEE 900 | number | https://schema.org/Number
32-Bit IEEE 901 | number | https://schema.org/Number
32-Bit IEEE 902 | number | https://schema.org/Number
32-Bit IEEE 903 | number | https://schema.org/Number
32-Bit IEEE 904 | number | https://schema.org/Number
32-Bit IEEE 905 | number | https://schema.org/Number
32-Bit IEEE 906 | number | https://schema.org/Number
32-Bit IEEE 907 | number | https://schema.org/Number
32-Bit IEEE 908 | number | https://schema.org/Number
32-Bit IEEE 909 | number | https://schema.org/Number
32-Bit IEEE 910 | number | https://schema.org/Number
32-Bit IEEE 911 | number | https://schema.org/Number
32-Bit IEEE 912 | number | https://schema.org/Number
32-Bit IEEE 913 | number | https://schema.org/Number
32-Bit IEEE 914 | number | https://schema.org/Number
32-Bit IEEE 915 | number | https://schema.org/Number
32-Bit IEEE 916 | number | https://schema.org/Number
32-Bit IEEE 917 | number | https://schema.org/Number
32-Bit IEEE 918 | number | https://schema.org/Number
32-Bit IEEE 919 | number | https://schema.org/Number
32-Bit IEEE 920 | number | https://schema.org/Number
32-Bit IEEE 921 | number | https://schema.org/Number
32-Bit IEEE 922 | number | https://schema.org/Number
32-Bit IEEE 923 | number | https://schema.org/Number
32-Bit IEEE 924 | number | https://schema.org/Number
32-Bit IEEE 925 | number | https://schema.org/Number
32-Bit IEEE 926 | number | https://schema.org/Number
32-Bit IEEE 927 | number | https://schema.org/Number
32-Bit IEEE 928 | number | https://schema.org/Number
32-Bit IEEE 929 | number | https://schema.org/Number
32-Bit IEEE 930 | number | https://schema.org/Number
32-Bit IEEE 931 | number | https://schema.org/Number
32-Bit IEEE 932 | number | https://schema.org/Number
32-Bit IEEE 933 | number | https://schema.org/Number
32-Bit IEEE 934 | number | https://schema.org/Number
32-Bit IEEE 935 | number | https://schema.org/Number
32-Bit IEEE 936 | number | https://schema.org/Number
32-Bit IEEE 937 | number | https://schema.org/Number
32-Bit IEEE 938 | number | https://schema.org/Number
32-Bit IEEE 939 | number | https://schema.org/Number
32-Bit IEEE 940 | number | https://schema.org/Number
32-Bit IEEE 941 | number | https://schema.org/Number
32-Bit IEEE 942 | number | https://schema.org/Number
32-Bit IEEE 943 | number | https://schema.org/Number
32-Bit IEEE 944 | number | https://schema.org/Number
32-Bit IEEE 945 | number | https://schema.org/Number
32-Bit IEEE 946 | number | https://schema.org/Number
32-Bit IEEE 947 | number | https://schema.org/Number
32-Bit IEEE 948 | number | https://schema.org/Number
32-Bit IEEE 949 | number | https://schema.org/Number
32-Bit IEEE 950 | number | https://schema.org/Number
32-Bit IEEE 951 | number | https://schema.org/Number
32-Bit IEEE 952 | number | https://schema.org/Number
32-Bit IEEE 953 | number | https://schema.org/Number
32-Bit IEEE 954 | number | https://schema.org/Number
32-Bit IEEE 955 | number | https://schema.org/Number
32-Bit IEEE 956 | number | https://schema.org/Number
32-Bit IEEE 957 | number | https://schema.org/Number
32-Bit IEEE 958 | number | https://schema.org/Number
32-Bit IEEE 959 | number | https://schema.org/Number
32-Bit IEEE 960 | number | https://schema.org/Number
32-Bit IEEE 961 | number | https://schema.org/Number
32-Bit IEEE 962 | number | https://schema.org/Number
32-Bit IEEE 963 | number | https://schema.org/Number
32-Bit IEEE 964 | number | https://schema.org/Number
32-Bit IEEE 965 | number | https://schema.org/Number
32-Bit IEEE 966 | number | https://schema.org/Number
32-Bit IEEE 967 | number | https://schema.org/Number
32-Bit IEEE 968 | number | https://schema.org/Number
32-Bit IEEE 969 | number | https://schema.org/Number
32-Bit IEEE 970 | number | https://schema.org/Number
32-Bit IEEE 971 | number | https://schema.org/Number
32-Bit IEEE 972 | number | https://schema.org/Number
32-Bit IEEE 973 | number | https://schema.org/Number
32-Bit IEEE 974 | number | https://schema.org/Number
32-Bit IEEE 975 | number | https://schema.org/Number
32-Bit IEEE 976 | number | https://schema.org/Number
32-Bit IEEE 977 | number | https://schema.org/Number
32-Bit IEEE 978 | number | https://schema.org/Number
32-Bit IEEE 979 | number | https://schema.org/Number
32-Bit IEEE 980 | number | https://schema.org/Number
32-Bit IEEE 981 | number | https://schema.org/Number
32-Bit IEEE 982 | number | https://schema.org/Number
32-Bit IEEE 983 | number | https://schema.org/Number
32-Bit IEEE 984 | number | https://schema.org/Number
32-Bit IEEE 985 | number | https://schema.org/Number
32-Bit IEEE 986 | number | https://schema.org/Number
32-Bit IEEE 987 | number | https://schema.org/Number
32-Bit IEEE 988 | number | https://schema.org/Number
32-Bit IEEE 989 | number | https://schema.org/Number
32-Bit IEEE 990 | number | https://schema.org/Number
32-Bit IEEE 991 | number | https://schema.org/Number
32-Bit IEEE 992 | number | https://schema.org/Number
32-Bit IEEE 993 | number | https://schema.org/Number
32-Bit IEEE 994 | number | https://schema.org/Number
32-Bit IEEE 995 | number | https://schema.org/Number
32-Bit IEEE 996 | number | https://schema.org/Number
32-Bit IEEE 997 | number | https://schema.org/Number
32-Bit IEEE 998 | number | https://schema.org/Number
32-Bit IEEE 999 | number | https://schema.org/Number
32-Bit IEEE 1000 | number | https://schema.org/Number
32-Bit IEEE 1001 | number | https://schema.org/Number
32-Bit IEEE 1002 | number | https://schema.org/Number
32-Bit IEEE 1003 | number | https://schema.org/Number
32-Bit IEEE 1004 | number | https://schema.org/Number
32-Bit IEEE 1005 | number | https://schema.org/Number
32-Bit IEEE 1006 | number | https://schema.org/Number
32-Bit IEEE 1007 | number | https://schema.org/Number
32-Bit IEEE 1008 | number | https://schema.org/Number
32-Bit IEEE 1009 | number | https://schema.org/Number
32-Bit IEEE 1010 | number | https://schema.org/Number
32-Bit IEEE 1011 | number | https://schema.org/Number
32-Bit IEEE 1012 | number | https://schema.org/Number
32-Bit IEEE 1013 | number | https://schema.org/Number
32-Bit IEEE 1014 | number | https://schema.org/Number
32-Bit IEEE 1015 | number | https://schema.org/Number
32-Bit IEEE 1016 | number | https://schema.org/Number
32-Bit IEEE 1017 | number | https://schema.org/Number
32-Bit IEEE 1018 | number | https://schema.org/Number
32-Bit IEEE 1019 | number | https://schema.org/Number
32-Bit IEEE 1020 | number | https://schema.org/Number
32-Bit IEEE 1021 | number | https://schema.org/Number
32-Bit IEEE 1022 | number | https://schema.org/Number
32-Bit IEEE 1023 | number | https://schema.org/Number
32-Bit IEEE 1024 | number | https://schema.org/Number
32-Bit IEEE 1025 | number | https://schema.org/Number
32-Bit IEEE 1026 | number | https://schema.org/Number
32-Bit IEEE 1027 | number | https://schema.org/Number
32-Bit IEEE 1028 | number | https://schema.org/Number
32-Bit IEEE 1029 | number | https://schema.org/Number
32-Bit IEEE 1030 | number | https://schema.org/Number
32-Bit IEEE 1031 | number | https://schema.org/Number
32-Bit IEEE 1032 | number | https://schema.org/Number
32-Bit IEEE 1033 | number | https://schema.org/Number
32-Bit IEEE 1034 | number | https://schema.org/Number
32-Bit IEEE 1035 | number | https://schema.org/Number
32-Bit IEEE 1036 | number | https://schema.org/Number
32-Bit IEEE 1037 | number | https://schema.org/Number
32-Bit IEEE 1038 | number | https://schema.org/Number
32-Bit IEEE 1039 | number | https://schema.org/Number
32-Bit IEEE 1040 | number | https://schema.org/Number
32-Bit IEEE 1041 | number | https://schema.org/Number
32-Bit IEEE 1042 | number | https://schema.org/Number
32-Bit IEEE 1043 | number | https://schema.org/Number
32-Bit IEEE 1044 | number | https://schema.org/Number
32-Bit IEEE 1045 | number | https://schema.org/Number
32-Bit IEEE 1046 | number | https://schema.org/Number
32-Bit IEEE 1047 | number | https://schema.org/Number
32-Bit IEEE 1048 | number | https://schema.org/Number
32-Bit IEEE 1049 | number | https://schema.org/Number
32-Bit IEEE 1050 | number | https://schema.org/Number
32-Bit IEEE 1051 | number | https://schema.org/Number
32-Bit IEEE 1052 | number | https://schema.org/Number
32-Bit IEEE 1053 | number | https://schema.org/Number
32-Bit IEEE 1054 | number | https://schema.org/Number
32-Bit IEEE 1055 | number | https://schema.org/Number
32-Bit IEEE 1056 | number | https://schema.org/Number
32-Bit IEEE 1057 | number | https://schema.org/Number
32-Bit IEEE 1058 | number | https://schema.org/Number
32-Bit IEEE 1059 | number | https://schema.org/Number
32-Bit IEEE 1060 | number | https://schema.org/Number
32-Bit IEEE 1061 | number | https://schema.org/Number
32-Bit IEEE 1062 | number | https://schema.org/Number
32-Bit IEEE 1063 | number | https://schema.org/Number
32-Bit IEEE 1064 | number | https://schema.org/Number
32-Bit IEEE 1065 | number | https://schema.org/Number
32-Bit IEEE 1066 | number | https://schema.org/Number
32-Bit IEEE 1067 | number | https://schema.org/Number
32-Bit IEEE 1068 | number | https://schema.org/Number
32-Bit IEEE 1069 | number | https://schema.org/Number
32-Bit IEEE 1070 | number | https://schema.org/Number
32-Bit IEEE 1071 | number | https://schema.org/Number
32-Bit IEEE 1072 | number | https://schema.org/Number
32-Bit IEEE 1073 | number | https://schema.org/Number
32-Bit IEEE 1074 | number | https://schema.org/Number
32-Bit IEEE 1075 | number | https://schema.org/Number
32-Bit IEEE 1076 | number | https://schema.org/Number
32-Bit IEEE 1077 | number | https://schema.org/Number
32-Bit IEEE 1078 | number | https://schema.org/Number
32-Bit IEEE 1079 | number | https://schema.org/Number
32-Bit IEEE 1080 | number | https://schema.org/Number
32-Bit IEEE 1081 | number | https://schema.org/Number
32-Bit IEEE 1082 | number | https://schema.org/Number
32-Bit IEEE 1083 | number | https://schema.org/Number
32-Bit IEEE 1084 | number | https://schema.org/Number
32-Bit IEEE 1085 | number | https://schema.org/Number
32-Bit IEEE 1086 | number | https://schema.org/Number
32-Bit IEEE 1087 | number | https://schema.org/Number
32-Bit IEEE 1088 | number | https://schema.org/Number
32-Bit IEEE 1089 | number | https://schema.org/Number
32-Bit IEEE 1090 | number | https://schema.org/Number
32-Bit IEEE 1091 | number | https://schema.org/Number
32-Bit IEEE 1092 | number | https://schema.org/Number
32-Bit IEEE 1093 | number | https://schema.org/Number
32-Bit IEEE 1094 | number | https://schema.org/Number
32-Bit IEEE 1095 | number | https://schema.org/Number
32-Bit IEEE 1096 | number | https://schema.org/Number
32-Bit IEEE 1097 | number | https://schema.org/Number
32-Bit IEEE 1098 | number | https://schema.org/Number
32-Bit IEEE 1099 | number | https://schema.org/Number
32-Bit IEEE 1100 | number | https://schema.org/Number
32-Bit IEEE 1101 | number | https://schema.org/Number
32-Bit IEEE 1102 | number | https://schema.org/Number
32-Bit IEEE 1103 | number | https://schema.org/Number
32-Bit IEEE 1104 | number | https://schema.org/Number
32-Bit IEEE 1105 | number | https://schema.org/Number
32-Bit IEEE 1106 | number | https://schema.org/Number
32-Bit IEEE 1107 | number | https://schema.org/Number
32-Bit IEEE 1108 | number | https://schema.org/Number
32-Bit IEEE 1109 | number | https://schema.org/Number
32-Bit IEEE 1110 | number | https://schema.org/Number
32-Bit IEEE 1111 | number | https://schema.org/Number
32-Bit IEEE 1112 | number | https://schema.org/Number
32-Bit IEEE 1113 | number | https://schema.org/Number
32-Bit IEEE 1114 | number | https://schema.org/Number
32-Bit IEEE 1115 | number | https://schema.org/Number
32-Bit IEEE 1116 | number | https://schema.org/Number
32-Bit IEEE 1117 | number | https://schema.org/Number
32-Bit IEEE 1118 | number | https://schema.org/Number
32-Bit IEEE 1119 | number | https://schema.org/Number
32-Bit IEEE 1120 | number | https://schema.org/Number
32-Bit IEEE 1121 | number | https://schema.org/Number
32-Bit IEEE 1122 | number | https://schema.org/Number
32-Bit IEEE 1123 | number | https://schema.org/Number
32-Bit IEEE 1124 | number | https://schema.org/Number
32-Bit IEEE 1125 | number | https://schema.org/Number
32-Bit IEEE 1126 | number | https://schema.org/Number
32-Bit IEEE 1127 | number | https://schema.org/Number
32-Bit IEEE 1128 | number | https://schema.org/Number
32-Bit IEEE 1129 | number | https://schema.org/Number
32-Bit IEEE 1130 | number | https://schema.org/Number
32-Bit IEEE 1131 | number | https://schema.org/Number
32-Bit IEEE 1132 | number | https://schema.org/Number
32-Bit IEEE 1133 | number | https://schema.org/Number
32-Bit IEEE 1134 | number | https://schema.org/Number
32-Bit IEEE 1135 | number | https://schema.org/Number
32-Bit IEEE 1136 | number | https://schema.org/Number
32-Bit IEEE 1137 | number | https://schema.org/Number
32-Bit IEEE 1138 | number | https://schema.org/Number
32-Bit IEEE 1139 | number | https://schema.org/Number
32-Bit IEEE 1140 | number | https://schema.org/Number
32-Bit IEEE 1141 | number | https://schema.org/Number
32-Bit IEEE 1142 | number | https://schema.org/Number
32-Bit IEEE 1143 | number | https://schema.org/Number
32-Bit IEEE 1144 | number | https://schema.org/Number
32-Bit IEEE 1145 | number | https://schema.org/Number
32-Bit IEEE 1146 | number | https://schema.org/Number
32-Bit IEEE 1147 | number | https://schema.org/Number
32-Bit IEEE 1148 | number | https://schema.org/Number

## example
Regeln
Parse Gliederungsstufen 0-3 und Zuordnen von Gesamtanlage, Aggregat und Funktion
Parse Endung und Zuordnung Endung
0HNB30DT001/TempWLSe_WSpei.LMN
0 | Gesamtanlage
HNB | Kanalsystem Warmluft
30 | Nr 30
DT | Regelkreis Temperatur
1 | Nr 001
LMN | Stellwert Regler
0GCF30CQ501/WAB_LFnUmOs.U
0 | Gesamtanlage
GCF | Ionentauscher, Umkehrosmose
30 | Nr 30
CQ | Messkreis Qualität (Analysen, Stoffeigenschaften)
501 | Nr 501
.U | Analogwert Messung